MONTHLY PROBE THERMOMETER CHECK

Probe thermometer recording details

| Month |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Reading in Iced Water |  |  |  |  |  |  |  |  |  |  |  |  |
| Reading in Boiling Water |  |  |  |  |  |  |  |  |  |  |  |  |
| Checked by |  |  |  |  |  |  |  |  |  |  |  |  |

• The readings in iced water should be -1°C to +1°C, if outside this range the unit should be replaced or returned to the manufacturer to be recalibrated.

• The reading in boiling water should be between 99°C and 101°C, if outside this range the unit should be replaced or returned to the manufacturer to be recalibrated.

| Date and Details of Yearly Calibration |  | Date of next Yearly Calibration |  |
| --- | --- | --- | --- |

N.B. The electronic display unit should be checked at least once per year. Manufacturers may offer a calibration service.

CookSafe Food Safety Assurance System