## Front Page
Weymouth Laboratory
Barrack Road
The Nothe
Weymouth
Dorset
DT4 8UB
|  |  |  | Tel: +44 (0)1305 206600 |  |  | 2293
Fax: +44 (0)1305 206601
Customer: | Food Standards Scotland |  | Sampling Period: |  | from: | 2023-08-15
[5 empty] | to: | 2023-08-18
Address: | Food Standards Scotland |  | No. of Pages |  |  |  | 2
| 4th floor |  | (including this page)
Pilgrim House
| Aberdeen |  | Date of Issue of Report: |  |  | 2023-08-22
AB11 5RL
[5 empty] | WEEKLY |  | Update
Telephone: | 01224 285190
email: | graham.ewen@fss.scot
Methods Used: | SOP 1172, SOP 1175, SOP 1178, SOP 1506
E. coli test (derived from UK NRL SOP)
Theorectical Limit of Quantitation (LOQ) 18 E. coli MPN /100 g
Expanded uncertainty= measured standard deviation *2 = log10 0.66
ISO reference docs. ISO TS 16649-3 and ISO 7218
Information relating to the origin of samples (location & date of collection) is as provided by third parties and has not been verified by Cefas
Sampling is not covered by the scope of accreditation and test results provided are relevant only to the sample as received at the laboratory
Comments / Other Information
QA alert ref 23/021 dated 17/8/23 for samples 23/1069 to 1078
|  | Name & Role | Date
| Results entered by: | Lesley Bickerstaff | 2023-08-22
Shellfish Hygiene Officer
| Report checked by: | Josh Rose | 2023-08-22
Shellfish Hygiene Scientist
E. coli analysis of all species in this report are UKAS accredited. Opinions and interpretations expressed in this report are outside the scope of UKAS accreditation
Note on K10: Dates from and to...
Note on I18: ma00: either interim or weekly

## Report
Sample number | Site SIN Number | Local Authority | Production Area | Site Name | SIN | Sample For Fast Track | Sample Species | OS Grid Reference | Collection Date | Water Temp | Sample Source | Lab Received Date | Arrival Temp | Test Date | Ecoli/100g | Result Classification | Current Area Classification | UKAS No | Investigative/Resample | Date reported to FSS | Sample Rejected | Sample Rejected Reason | Improbable Combination | Improbable Combination Value | Harvester's Own Results
23/1088 | AB 818 2146 04 | Argyll and Bute Council | Ardencaple | Ardencaple cockles | AB 818 2146 04 | FALSE | Common cockles | NM7697 1925 | 2023-08-16 | 15 | hand raked | 2023-08-17 | 11.6 |  |  |  | NOT CLASSIFIED | 2293 | FALSE | 2023-08-17 | TRUE | > 10 deg C | FALSE |  | FALSE
23/1086 | AB 541 972 13 | Argyll and Bute Council | East Tarbert Bay | Isle of Gigha | AB 541 972 13 | FALSE | Pacific oysters | NR6574 5210 | 2023-08-16 | 13 | hand picked | 2023-08-17 | 6.3 | 2023-08-17 | <18 | A | B | 2293 | FALSE | 2023-08-22 | FALSE |  | FALSE |  | FALSE
23/1085 | AB 697 1512 04 | Argyll and Bute Council | Ganavan Cockles | Ganavan | AB 697 1512 04 | FALSE | Common cockles | NM8556 3238 | 2023-08-16 | 16 | hand raked | 2023-08-17 | 6.4 | 2023-08-17 | 1700 | B | B | 2293 | FALSE | 2023-08-22 | FALSE |  | FALSE |  | FALSE
23/1084 | AB 094 011 13 | Argyll and Bute Council | Islay | Loch Gruinart Craigens | AB 094 011 13 | FALSE | Pacific oysters | NR3027 7114 | 2023-08-15 | 15 | hand picked | 2023-08-17 | 8.9 | 2023-08-17 | 1700 | B | B | 2293 | FALSE | 2023-08-22 | FALSE |  | FALSE |  | FALSE
23/1104 | AB 895 1514 04 | Argyll and Bute Council | Kerrera West | Oitir Mhor | AB 895 1514 04 | FALSE | Common cockles | NM8240 3001 | 2023-08-17 | 15 | hand raked | 2023-08-18 | 5.5 | 2023-08-18 | 1100 | B | C | 2293 | FALSE | 2023-08-22 | FALSE |  | FALSE |  | FALSE
23/1075 | AB 112 017 13 | Argyll and Bute Council | Loch A Chumhainn: Inner Deep Site | Inner Deep Site | AB 112 017 13 | FALSE | Pacific oysters | NM4093 5336 | 2023-08-14 | 14 | hand picked | 2023-08-15 | 5.8 | 2023-08-15 | 5400 | C | B | 2293 | FALSE | 2023-08-17 | FALSE |  | FALSE |  | FALSE
23/1074 | AB 113 018 13 | Argyll and Bute Council | Loch A Chumhainn: Outer | Outer | AB 113 018 13 | FALSE | Pacific oysters | NM4070 5450 | 2023-08-14 | 14 | hand picked | 2023-08-15 | 5.8 | 2023-08-15 | 1300 | B | A | 2293 | FALSE | 2023-08-17 | FALSE |  | FALSE |  | FALSE
23/1105 | AB 129 021 13 | Argyll and Bute Council | Loch Creran Upper Oysters | East - Barrington | AB 129 021 13 | FALSE | Pacific oysters | NM9489 4325 | 2023-08-17 | 18.2 | hand picked | 2023-08-18 | 7.3 | 2023-08-18 | 490 | B | B | 2293 | FALSE | 2023-08-22 | FALSE |  | FALSE |  | FALSE
23/1090 | AB 863 2347 04 | Argyll and Bute Council | Loch Gair | Loch Gair Common Cockles | AB 863 2347 04 | FALSE | Common cockles | NR9251 9083 | 2023-08-15 | 16 | hand raked | 2023-08-17 | 11.6 |  |  |  | B | 2293 | FALSE | 2023-08-17 | TRUE | > 10 deg C | FALSE |  | FALSE
23/1071 | AB 284 080 13 | Argyll and Bute Council | Loch Na Keal | Eilean Liath | AB 284 080 13 | FALSE | Pacific oysters | NM4743 3927 | 2023-08-14 | 15 | hand picked | 2023-08-15 | 6.1 | 2023-08-15 | <18 | A | A | 2293 | FALSE | 2023-08-22 | FALSE |  | FALSE |  | FALSE
23/1070 | AB 286 082 13 | Argyll and Bute Council | Loch Na Keal West | Eilean Casach | AB 286 082 13 | FALSE | Pacific oysters | NM4580 3906 | 2023-08-14 | 16 | hand picked | 2023-08-15 | 6.1 | 2023-08-15 | <18 | A | A | 2293 | FALSE | 2023-08-22 | FALSE |  | FALSE |  | FALSE
23/1078 | AB 876 2389 13 | Argyll and Bute Council | Porte Na Coite | Porte Na Coite | AB 876 2389 13 | FALSE | Pacific Oysters | NM5099 5554 | 2023-08-14 | 14.2 | hand picked | 2023-08-15 | 8.3 | 2023-08-15 | 1300 | B | B | 2293 | FALSE | 2023-08-22 | FALSE |  | FALSE |  | FALSE
23/1089 | AB 245 070 13 | Argyll and Bute Council | Seil Point | Poll a’ Bhrochain (Cyster) | AB 245 070 13 | FALSE | Pacific oysters | NM7709 1939 | 2023-08-16 | 15 | hand picked | 2023-08-17 | 11.6 |  |  |  | B | 2293 | FALSE | 2023-08-17 | TRUE | > 10 deg C | FALSE |  | FALSE
23/1087 | AB 869 2368 13 | Argyll and Bute Council | Sound of Gigha: Drumyeonmore Bay | Sound of Gigha: Drumyeonmore Bay | AB 869 2368 13 | FALSE | Pacific oysters | NR6560 5000 | 2023-08-16 | 13 | hand picked | 2023-08-17 | 6.3 | 2023-08-17 | 78 | A | Pre-Classification | 2293 | FALSE | 2023-08-22 | FALSE |  | FALSE |  | FALSE
23/1079 | LH 891 2455 08 | Comhairle nan Eilean Siar: Lewis & Harris | Loch Carloway | Loch Carloway Mussels | LH 891 2455 08 | FALSE | Common mussels | NB1868 4222 | 2023-08-15 | 15.1 | hand picked | 2023-08-16 | 7.5 | 2023-08-16 | 20 | A | A | 2293 | FALSE | 2023-08-22 | FALSE |  | FALSE |  | FALSE
23/1069 | LH 249 129 04 | Comhairle nan Eilean Siar: Lewis & Harris | Seilebost | Seilebost | LH 249 129 04 | FALSE | Common cockles | NG0829 9764 | 2023-08-14 | 16 | hand raked | 2023-08-15 | 6.7 | 2023-08-15 | 16000 | C | C | 2293 | FALSE | 2023-08-22 | FALSE |  | FALSE |  | FALSE
23/1072 | UB 493 852 04 | Comhairle nan Eilean Siar: Uist & Barra | North Ford | Oitir Mhor | UB 493 852 04 | FALSE | Common cockles | NF8432 5855 | 2023-08-14 | 17 | hand raked | 2023-08-15 | 6.3 | 2023-08-15 | 790 | B | B | 2293 | FALSE | 2023-08-22 | FALSE |  | FALSE |  | FALSE
23/1073 | UB 259 162 04 | Comhairle nan Eilean Siar: Uist & Barra | South Ford | South Ford | UB 259 162 04 | FALSE | Common cockles | NF8038 4727 | 2023-08-14 | 17 | hand raked | 2023-08-15 | 6.3 | 2023-08-15 | 490 | B | B | 2293 | FALSE | 2023-08-22 | FALSE |  | FALSE |  | FALSE
23/1100 | EL 601 1087 16 | East Lothian | Gullane Point North | Gullane North | EL 601 1087 16 | FALSE | Razors | NT4469 8359 | 2023-08-16 | 17 | dived | 2023-08-18 | 7.1 | 2023-08-18 | 68 | A | A | 2293 | FALSE | 2023-08-22 | FALSE |  | FALSE |  | FALSE
23/1097 | EL 703 1525 16 | East Lothian | Gullane Point South | Gullane South | EL 703 1525 16 | FALSE | Razors | NT4360 8171 | 2023-08-16 | 17 | dived | 2023-08-18 | 6.2 | 2023-08-18 | 230 | A | A | 2293 | FALSE | 2023-08-22 | FALSE |  | FALSE |  | FALSE
23/1103 | EL 736 1707 16 | East Lothian | North Berwick Razors | North Berwick Razors | EL 736 1707 16 | FALSE | Razors | NT5007 8673 | 2023-08-16 | 17 | dived | 2023-08-18 | 5.3 | 2023-08-18 | 68 | A | A | 2293 | FALSE | 2023-08-22 | FALSE |  | FALSE |  | FALSE
23/1098 | FF 868 2365 16 | Fife Council | Elie Razors | Elie Razors | FF 868 2365 16 | FALSE | Razors | NT4662 9905 | 2023-08-16 | 17 | dived | 2023-08-18 | 6.2 | 2023-08-18 | 20 | A | A | 2293 | FALSE | 2023-08-22 | FALSE |  | FALSE |  | FALSE
23/1099 | FF 072 188 16 | Fife Council | Forth Estuary: Largo Bay | Largo Bay | FF 072 188 16 | FALSE | Razors | NO4438 0022 | 2023-08-16 | 17 | dibed | 2023-08-18 | 7.1 | 2023-08-18 | 78 | A | A | 2293 | FALSE | 2023-08-22 | FALSE |  | FALSE |  | FALSE
23/1102 | SL 890 2350 04 | Highland Council: Skye & Lochalsh | Loch Harport Inner Cockles | Carbost Cockles | SL 890 2350 04 | FALSE | Common cockles | NG3926 3145 | 2023-08-16 | 17 | hand raked | 2023-08-18 | 5 | 2023-08-18 | 1100 | B | B | 2293 | FALSE | 2023-08-22 | FALSE |  | FALSE |  | FALSE
23/1076 | HS 773 1984 13 | Highland Council: Sutherland | Kyle of Durness | Keoldale | HS 773 1984 13 | FALSE | Pacific oysters | NC3735 6662 | 2023-08-14 | 15.7 | hand picked | 2023-08-15 | 5.5 | 2023-08-15 | 5400 | C | B | 2293 | FALSE | 2023-08-17 | FALSE |  | FALSE |  | FALSE
23/1077 | HS 103 303 13 | Highland Council: Sutherland | Kyle of Tongue | Kyle of Tongue | HS 103 303 13 | FALSE | Pacific oysters | NC5915 5884 | 2023-08-14 | 18 | hand picked | 2023-08-15 | 5.5 | 2023-08-15 | 130 | A | B | 2293 | FALSE | 2023-08-22 | FALSE |  | FALSE |  | FALSE
9612 | SI 324 399 08 | Shetland Islands Council | Basta Voe Cove | Inner - Site 1 - Thomason | SI 324 399 08 | FALSE | Common mussels | HU 5167 9757 | 2023-08-14 | 13 | HAND PICKED | 2023-08-14 | 4.96 | 2023-08-14 | <18 | A | A | 2651 | FALSE | 2023-08-21 | FALSE |  | FALSE |  | FALSE
9611 | SI 323 403 08 | Shetland Islands Council | Basta Voe Outer | Outer | SI 323 403 08 | FALSE | Common mussels | HU 5293 9569 | 2023-08-14 | 13 | HAND PICKED | 2023-08-14 | 4.96 | 2023-08-14 | <18 | A | A | 2651 | FALSE | 2023-08-21 | FALSE |  | FALSE |  | FALSE
9608 | SI 023 406 08 | Shetland Islands Council | Brindister Voe | Brindister Voe | SI 023 406 08 | FALSE | Common mussels | HU 2875 5648 | 2023-08-14 | 13 | HAND PICKED | 2023-08-14 | 5.7 | 2023-08-14 | 18 | A | A | 2651 | FALSE | 2023-08-21 | FALSE |  | FALSE |  | FALSE
9610 | SI 322 464 08 | Shetland Islands Council | Vementry North | Suthra Voe West | SI 322 464 08 | FALSE | Common mussels | HU 2919 6023 | 2023-08-14 | 13.5 | HAND PICKED | 2023-08-14 | 5.7 | 2023-08-14 | <18 | A | A | 2651 | FALSE | 2023-08-21 | FALSE |  | FALSE |  | FALSE
9609 | SI 321 459 08 | Shetland Islands Council | Vementry South | Clousta Voe - Noonsbrough | SI 321 459 08 | FALSE | Common mussels | HU 2951 5783 | 2023-08-14 | 13 | HAND PICKED | 2023-08-14 | 5.7 | 2023-08-14 | 20 | A | A | 2651 | FALSE | 2023-08-21 | FALSE |  | FALSE |  | FALSE
23/1101 | SA 872 2381 16 | South Ayrshire Council | Croy Bay South | Girvan Mains | SA 872 2381 16 | FALSE | Razors | NS1977 0393 | 2023-08-16 | 17 | dived | 2023-08-18 | 4.2 | 2023-08-18 | <18 | A | Pre-Classification | 2293 | FALSE | 2023-08-22 | FALSE |  | FALSE |  | FALSE